TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 2245 | 10/3/07 | 292820 |
| Address: |  | Tested By: |  |
| 7729 S. Campus View Dr. W. Jordan UT 84084 |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Lowe’s Water Sample | Sample #2 Water Sample | Recommended Max Levels |
| --- | --- | --- | --- |
| Sulfate, ppm | 63 | 61 | 250 ppm |
| Chloramine | ND | ND | .5 ppm |
| Chlorine, ppm | ND | ND | Detectable |
| Alkalinity, ppm | 135 | 135 | 150 ppm |
| Total Dissolved Solids, ppm | 310 | 320 | 500 ppm |
| Hardness, ppm | 230 | 245 | 100 ppm |
| pH | 7.1 | 7.5 | 6.5 – 8.5 ppm |
| Turbidity | 0.40 | 0.00 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com