TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Philip Browne | Chick-fil-A # 1698 | 2/6/13 |  |
| Address: |  | Tested By: |  |
| 996 W. Highway 287 Bypass Waxahachie, TX 75165 |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |
| 214-263-2197 | 01698@chick-fil-a.com |  |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Kitchen Tap | Kitchen Filtered | Coffee | Drink Tower | Recommended Max Levels |
| --- | --- | --- | --- | --- | --- |
| Fluoride, ppm | 0.9 | 0.9 | 0.5 | 0.9 | 2 ppm |
| Chloride, ppm | 20 | 15 | 20 | 15 | 250 ppm |
| Nitrite, ppm | ND | ND | ND | ND | 1 ppm as N |
| Nitrate, ppm | ND | ND | ND | ND | 10 ppm as N |
| Sulfate, ppm | 72 | 56 | 74 | 75 | 250 ppm |
| Sodium, ppm | 55 | 33 | 50 | 33 | 250 ppm |
| Chloramine | 1.01 | 0.2 | ND | 1.40 | .5 ppm |
| Chlorine, ppm | 0.25 | 0.1 | ND | 0.25 | Detectable |
| Alkalinity, ppm | 25 | ND | 35 | 45 | 150 ppm |
| Total Dissolved Solids, ppm | 350 | 300 | 350 | 300 | 500 ppm |
| Hardness, ppm | 158 | 156 | 163 | 161 | 100 ppm |
| pH | 6.1 | 6.0 | 6.0 | 6.5 | 6.5 – 8.5 ppm |
| Turbidity | 0.00 | 0.00 | 0.00 | 0.00 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com